{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Cover","Wechselstrom"],"not_rendered":{"charts":1,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Cover","index":0,"n_rows":20,"n_cols":3,"rows_kept":20,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,"Excel + VBA"]
[null,"für Ingenieure"]
[]
[]
[null,"Kapitel",10]
[null,"Thema","Berechnungen aus der Elektrotechnik"]
[]
[null,"Inhalt","Gesamtwiderstand einer Wechselstromschaltung"]
[]
[]
[]
[]
[null,"Version","7.0"]
[null,"Autor","Harald Nahrstedt"]
[null,"Letzte Bearbeitung","2023-03-04"]
[]
[]
[null,"Springer Vieweg Verlag"]

{"sheet":"Wechselstrom","index":1,"n_rows":102,"n_cols":5,"rows_kept":102,"cut":false,"hidden":false,"merged":[]}
["Ohmscher Widerstand R [Ohm]",0.8,null,"w [1/s]","|Z|"]
["Kapazitiver Widerstand C [F]",2E-3,null,0,0]
["Induktiver Widerstand L [H]",0.01,null,10,0.10020034935788796]
[null,null,null,20,0.20161123331076911]
[null,null,null,30,0.30548599229481727]
[null,null,null,40,0.41316650686344791]
[null,null,null,50,0.52613508893408689]
[null,null,null,60,0.6460763932247896]
[null,null,null,70,0.77495424999286999]
[null,null,null,80,0.91510985819546942]
[null,null,null,90,1.0693899140339655]
[null,null,null,100,1.2413159890275258]
[null,null,null,110,1.4353094513926463]
[null,null,null,120,1.6569879415626934]
[null,null,null,130,1.9135451307223019]
[null,null,null,140,2.2142016675068787]
[null,null,null,150,2.5706350185855085]
[null,null,null,160,2.9970635435520068]
[null,null,null,170,3.5090452557248626]
[null,null,null,180,4.118602149196537]
[null,null,null,190,4.8206622655860292]
[null,null,null,200,5.564736483862597]
[null,null,null,210,6.2208927069671871]
[null,null,null,220,6.5986849782833961]
[null,null,null,230,6.5785610936851855]
[null,null,null,240,6.2250188182088575]
[null,null,null,250,5.7082632790474328]
[null,null,null,260,5.1675387658489527]
[null,null,null,270,4.6715400756826151]
[null,null,null,280,4.2412026509733591]
[null,null,null,290,3.8757030688188738]
[null,null,null,300,3.5668510580886661]
[null,null,null,310,3.3052051022861022]
[null,null,null,320,3.082218753872513]
[null,null,null,330,2.8907733842753043]
[null,null,null,340,2.7251323723262515]
[null,null,null,350,2.580727570844592]
[null,null,null,360,2.4539280029663306]
[null,null,null,370,2.3418382580967658]
[null,null,null,380,2.2421360346593047]
[null,null,null,390,2.1529455144411229]
[null,null,null,400,2.0727400085259666]
[null,null,null,410,2.0002674040541502]
[null,null,null,420,1.9344930006876908]
[null,null,null,430,1.8745554998003495]
[null,null,null,440,1.8197329263238877]
[null,null,null,450,1.7694160683752043]
[null,null,null,460,1.7230876320966488]
[null,null,null,470,1.6803057659908796]
[null,null,null,480,1.640690947112049]
[null,null,null,490,1.6039154711222987]
[null,null,null,500,1.5696949728187026]
[null,null,null,510,1.537781540706572]
[null,null,null,520,1.5079580913125328]
[null,null,null,530,1.4800337454852668]
[null,null,null,540,1.4538400066654082]
[null,null,null,550,1.4292275849154177]
[null,null,null,560,1.4060637439519499]
[null,null,null,570,1.3842300741255631]
[null,null,null,580,1.3636206141624037]
[null,null,null,590,1.3441402599359413]
[null,null,null,600,1.3257034106261532]
[null,null,null,610,1.3082328121350777]
[null,null,null,620,1.291658565152378]
[null,null,null,630,1.2759172712493123]
[null,null,null,640,1.2609512951640154]
[null,null,null,650,1.2467081252849763]
[null,null,null,660,1.2331398174427959]
[null,null,null,670,1.220202509637053]
[null,null,null,680,1.2078559973753131]
[null,null,null,690,1.1960633609786857]
[null,null,null,700,1.1847906375863064]
[null,null,null,710,1.1740065317276949]
[null,null,null,720,1.1636821592729882]
[null,null,null,730,1.1537908203531237]
[null,null,null,740,1.1443077974943014]
[null,null,null,750,1.1352101757569739]
[null,null,null,760,1.1264766821279935]
[null,null,null,770,1.1180875418007272]
[null,null,null,780,1.1100243493042816]
[null,null,null,790,1.1022699527195678]
[null,null,null,800,1.0948083494550966]
[null,null,null,810,1.0876245922558134]
[null,null,null,820,1.0807047042896374]
[null,null,null,830,1.0740356023032265]
[null,null,null,840,1.0676050269646615]
[null,null,null,850,1.0614014796194582]
[null,null,null,860,1.0554141647801549]
[null,null,null,870,1.0496329377509821]
[null,null,null,880,1.0440482568595619]
[null,null,null,890,1.0386511398288736]
[null,null,null,900,1.0334331238760781]
[null,null,null,910,1.0283862291714119]
[null,null,null,920,1.0235029253311061]
[null,null,null,930,1.0187761006540403]
[null,null,null,940,1.0141990338432061]
[null,null,null,950,1.0097653679806724]
[null,null,null,960,1.0054690865490832]
[null,null,null,970,1.0013044913141955]
[null,null,null,980,0.99726618190199445]
[null,null,null,990,0.99334903692073218]
[null,null,null,1000,0.98954819649321191]